## Read me
Newman Energy — Model Pack
Sales Academy · lopezpalacios.github.io/newman-energy-academy
Four live financial models. Blue cells are inputs — change them; everything recalculates.
1. LCOE Builder — levelised cost of solar energy vs the grid tariff
2. Customer Savings — what a client saves buying covered load under a PPA
3. NPV / DCF Exit — sale price of an operating asset under yield compression
4. BESS Revenue Stack — arbitrage + capacity + ancillary revenue of a battery
These mirror the interactive calculators on the Academy site exactly.
All figures are illustrative defaults for Europe / Czechia. Not investment advice.

## LCOE
LCOE Builder
Levelised cost of energy per kWp of solar · Newman Energy Academy
Inputs |  |  |  | Results
Capex | 600 | EUR / kWp |  | LCOE | EUR / MWh
Opex / year | 12 | EUR / kWp / yr |  | Margin vs grid | EUR / MWh
Specific yield | 1050 | kWh / kWp / yr |  | Discount to grid
Asset life | 25 | years |  | Verdict
Discount rate | 7%
Grid tariff to beat | 120 | EUR / MWh
Live formulas — change any blue input.
Year | Disc. factor | Disc. energy | Disc. opex

## Savings
Customer Savings
Grid vs PPA cost on covered load · Newman Energy Academy
Inputs |  |  | Results
Annual consumption | 5000 | MWh / yr | Saving / year | per year
Grid tariff | 120 | EUR / MWh | % off covered bill
PPA price | 80 | EUR / MWh | 10-year saving
Share covered by PPA | 60% |  | Covered load | MWh / yr
|  |  | New PPA bill | per year

## Exit NPV-DCF
NPV / DCF Exit Valuation
Sell an operating asset to a fund at a compressed yield · Newman Energy Academy
Inputs |  |  |  | Results
Net cash flow / year | 350000 | EUR / yr |  | Sale price (NPV @ fund yield)
Build cost (capex) | 3000000 | EUR |  | Gain over build cost
Asset life | 25 | years |  | Money multiple
Your build hurdle rate | 11% |  |  | Value from yield compression
Fund's required yield | 7% |  |  | Yield gap
Terminal / residual value | 0 | EUR |  | Build IRR (if you hold)
Year | Cash flow | PV @ exit | PV @ build

## BESS
BESS Revenue Stack
Stacked annual revenue of a grid battery · Newman Energy Academy
Inputs |  |  | Results
Power | 5 | MW | Total revenue / year
Duration | 2 | hours | Arbitrage
Cycles / year | 365 |  | Capacity
Arbitrage spread | 60 | EUR / MWh | Ancillary
Capacity payment | 30000 | EUR / MW / yr | Usable energy | MWh
Ancillary (FCR) | 15000 | EUR / MW / yr | Capex (total)
Capex | 350 | EUR / kWh | Simple payback
Round-trip efficiency | 86%